ECU Mt Lawley Campus

[image: image1.jpg]>
=
@
| =
=
=
i =






[image: image2.jpg]



[image: image3.jpg]


[image: image4.jpg]FIRE
ALARM

BREAK GLASS
— (D<=
PRESS HERE






	




CONTENTS




        Page


Contents pages

Introduction/Purpose of Manual

Statement 

1 & 2

3

4

Types of Emergency

Emergency Control Organisation (ECO

5

6

Warden Identification

Colour Code for Emergencies

Emergency Systems Profile

7

8

9-12

Campus Emergency Coordinator Deputy Chief Warden Instructions

13

Campus Emergency Coordinator Deputy Chief Warden Instructions

14

Communication Officer/Reception Instructions

Emergency Response Officer/Security Officer (Normal Hours)

Emergency Response Officer/Security Officer (After Hours)

Building Wardens Instruction

Floor Warden & Deputy Warden Instructions

Lecturer Instructions

15

16

17

18

19

20

Cleaners Emergency Procedure - Fire

21

Assembly Floor Warden Action Sheet

First Aid Warden Instructions

22

23

Building Warden Instruction -  Buildings 1 & 2

Building Warden Instruction -  Buildings 1 & 2

Warden Instructions - Buildings 1 & 2

Warden Instructions - Buildings 1 Performance Nights

Warden Instructions - Buildings 1 & 2

24

25

26

27

28

Building Warden Instruction – Building 8

Floor & Deputy Floor Wardens Instructions – Building 8

Campus Emergency Coordinator Action Sheet 1 – Fire

Chief Warden (CEC) Action Sheet 2 - Earthquake

Chief Warden (CEC)  Action Sheet 3 -  Bomb Threat

Chief Warden (CEC) Action Sheet 3 - Bomb Threat

Chief Warden (CEC) Action Sheet 3 -  Bomb Threat

Bomb Threat Check List

Chief Warden (CEC) Action Sheet 4 – Medical Emergency

Medical Emergency

Chief Warden (CEC) Action Sheet 5 – Armed Holdup

Armed Intrusion/ Threat/Holdup Procedures

Armed Intrusion/ Threat/Holdup Staff Instructions

29

30

31

32

33

34

35

36

37

38 & 39

40

41

42

Armed Hold up Check List

Civil Disorder And Illegal Occupancy Procedures

Chemical Spill/Toxic Fumes
43-45

46

47

Standard Fire Orders

48

Standard Earthquake Order

49

Evacuation Check List

50

Checklist

51

Building Evacuation Incident Report Form

52

Record Keeping

53

Suspected Hazardous Material (Anthrax)

 What to do if you receive a Suspicious Package or Mail Item

54

55

If you suspect that you have received a Package that may contain

Hazardous Materials and have opened it

56




INTRODUCTION

These procedures were formulated to meet the requirements of Australian Standard AS3745-2002 – Emergency Control Organisation & Procedures for Buildings, Structures and Work places and the National Competency Standard – Fire Emergency Response.

All staff of Edith Cowan University are required to participate in emergency training and evacuation exercises and acknowledge the authority of appointed Emergency Control Organisation personnel.

Instructions given by the Emergency Control Organisation, during drills or emergency situations, will override normal Management structure.

PURPOSE OF MANUAL

The implementation of a building emergency program helps to ensure the

  effective utilisation of life safety features in a building to protect people

 from fire, bomb threats and other emergency situations.

The following procedures are meant to provide a basis for handling various

 types of building emergencies.  They should not be regarded as rigid but

 rather as flexible guidelines to be adapted to cope with any

 unanticipated situations.

Controlled copy No. 1

Issued to:
  …………………………………………………………..

	Version
	Revision
	Date
	Revision Description

	1.0
	0
	Sept 02
	Original version

	
	
	
	

	
	
	
	


STATEMENT

Edith Cowan University is committed to and places the highest priority on safe emergency procedures, for all employees, students, contractors and visitors.

The University will ensure that emergency procedures are in place and employed at all campuses, which conform to Australian Standards (AS) 3745-2002, and that all relevant personnel responsible for managing the emergency process, are trained in accordance with standards.

Emergency personnel responsible for evacuation will ensure that all procedures, personnel and equipment are maintained to a high level of readiness to efficiently and effectively respond to any emergency.

The University will be reviewed on an annual basis and the University will seek feedback from stakeholders to ensure a continual improvement cycle is implemented.  Reviews will also include regular input from external emergency professionals to ensure compliance with the above standard.

The University is reliant on the commitment and cooperation of all stakeholders implementing this procedure to enable a safer environment.

TYPES OF EMERGENCIES

A building emergency situation may arise as a result of any of the following:

· Fire

· Bomb threat

· Building damage

· Medical emergency

· Armed intrusion/hold up

· Civil disorder

· Chemical spills

[image: image5.jpg]


[image: image6.jpg]


[image: image7.jpg]


[image: image8.jpg]


[image: image9.jpg]


[image: image10.jpg]


[image: image11.jpg]


[image: image12.jpg]


[image: image13.jpg]


[image: image14.jpg]


[image: image15.jpg]


[image: image16.jpg]


[image: image17.jpg]


[image: image18.jpg]82z

m?_m
Hihi

S
Zrar

BATTERY
/8 TRIPPED

CHARGER
FAIL

Low.
voLTs




[image: image19.jpg]


[image: image20.jpg]


[image: image21.jpg]


[image: image22.jpg]


[image: image23.jpg]


[image: image24.jpg]


[image: image25.jpg]


[image: image26.jpg]


[image: image27.jpg]


[image: image28.jpg]


[image: image29.jpg]


[image: image30.jpg]


[image: image31.jpg]FIRE ALARM REPEATER PANEL

ADMINISTRATION
MATHS & SCIENCE
ARTS B CRAFTS.
PERFORMING ARTS.
MusIic

GENERAL PURPDSES.
MEDIA BUILDING.
BlockALE
BLOCKC A0
BLOCKE.

@ =sary

URATORIAL SERV

CENTRAL ADMIN
PABX GAS SYSTEM

press
(it




[image: image32.jpg]T |

FIRE PROTECTION ENGINEERS

5 ea-e . G

B - = .

B e o=e o .

i 3T | z 2 “
LI |

WAz T @




[image: image33.jpg]


[image: image34.jpg]I
FIRE ALARM

BREAK *) GLASS




[image: image35.jpg]




WARDEN IDENTIFICATION

Chief and Deputy Chief Wardens
(White)

Communications Officer


(White)

Emergency Response Officer

(White)

Building Warden




(Yellow)

Floor Warden





(Yellow)

Deputy Floor Wardens


(Red)

First Aid Officer

(Green with white









Cross)

Assembly Area Warden

(Deputy Floor Wardens will fill this position)

Identification equipment shall be marked with the wearers title and location.  This may best be achieved by the use of coloured identification such as helmets, caps, hats, vests or tabards. 

COLOUR CODE FOR EMERGENCIES

Can be used to stop people being alarmed unnecessarily.

Code Red


Fire/Smoke

Code Orange

Evacuation

Code Yellow 

Internal Emergency

Code Purple

Bomb Threat

Code Black

Personal Threat (armed 



or unarmed. (Persons 



threatening injury to 




others or themselves)

Code Brown


External Emergency

Code Blue


Medical Injury

Code Green


All Clear

EMERGENCY SYSTEMS PROFILE  /  Building No 1


EMERGENCY SYSTEMS PROFILE
 

EMERGENCY SYSTEMS PROFILE

Building 8


EMERGENCY SYSTEMS PROFILE 

GENERAL

 Campus Emergency Coordinator

Chief Warden

Instructions

In the event of an emergency:


Locate yourself at the Emergency Control Centre

(Facilities Management Office).


Wait for further information from the Emergency    Response Officer


Take action in accordance with the appropriate action

Sheet or as required.


Arrange delivery of Emergency Notice Boards, Barriers and Portable Evacuation System.


Ensure First Aid Post is set up, or direct First Aid person where needed.


Brief Emergency Services on their arrival.

Do not give all clear until informed by Emergency Services Officer.

Deputy Chief Warden

Team Leader

Instructions
 In the event of an emergency:-


Proceed to Control Centre (Facilities Management Office).

Assist the Campus Emergency Coordinator as directed.

Deputise for the Campus Emergency Coordinator in their absence.

Familiarise yourself thoroughly with the action sheets.

FACILITIES MANAGEMENT OFFICER/

COMMUNICATIONS OFFICER

 INSTRUCTIONS
On being informed of an emergency you are to :


Notify the Campus Emergency Coordinator.


On instruction from the Campus Emergency Coordinator, notify the appropriate Emergency Service.


On instruction from the Campus Emergency Coordinator list all evacuation information on appropriate sheets.

You should prepare as follows:-


List any emergency numbers in a ready to use location.


Familiarise yourself with the Bomb Threat Check List.

(If applicable).

EMERGENCY RESPONSE OFFICER

SECURITY OFFICER

INSTRUCTIONS.

NORMAL HOURS (08.30am – 5pm)

On being informed of an emergency by SMS message – Fire Alarm or Chief Warden you are to:

1. Proceed to building in alarm and meet Building Warden at Wardens meeting point (Fire Alarm Panel).

2. Gain status of emergency. Ensure Building Warden has completed Check Lists.

3. Have Building Warden carry out evacuation, if necessary.

4. Inform Chief Warden of status of Emergency.

5. If assistance needed for crowd control or to stop re-entry use Floor Wardens and Deputy Floor Wardens once they have finished their evacuation duties.

6. Portable evacuation system will be on hand if needed.

EMERGENCY RESPONSE OFFICER

SECURITY OFFICER

INSTRUCTIONS.

OUTSIDE NORMAL HOURS (5.30pm – 5am)

On being informed of an emergency by SMS message or by phone.

You shall:


Proceed to building in alarm.


Check Fire Panel.


Go to floor in alarm to confirm.


Phone Emergency Services.


If anyone in building ensure evacuation is carried out.


Move to front of building and await arrival of Emergency Services.


Complete Check Lists

BUILDING WARDENS INSTRUCTION.

On hearing the Fire Alarm Signal or being informed of an emergency you are to:

Proceed to the Fire Alarm Panel. (Wardens meeting point)

If Fire Alarm has sounded check to see which floor is in alarm.

Have Floor Wardens and Deputy Floor Warden’s check out

 their floor and commence evacuation, if necessary.

Floor Wardens and Deputy Floor Wardens must report back to you after evacuation.

Floor Wardens and Deputy Floor Wardens will be used as; 

1. Assembly Warden.

2. To stop re-entry to building.

3. To assist Emergency Response Officer with crowd control

and putting up barriers.

Pass on all relevant information to Emergency Response Officer (Security Officer)  (Use evacuation check lists).

FLOOR WARDEN AND DEPUTY FLOOR WARDEN INSTRUCTIONS

On hearing the Fire Alarm signal or being informed of an emergency you are to:-


Proceed to Fire Alarm Panel. (Wardens Meeting Point)


On instruction from the Building Warden, proceed to your floor and carry out instructions. 


If evacuation is carried out notify the Building Warden, on completion.


After evacuation report back to Building Warden.


Carry out further duties as requested by Building Warden.

LECTURER INSTRUCTIONS

On hearing the Fire Alarm Signal or announcement by Warden you are to:-


Assemble all students in the class ready for evacuation.


Wait for instructions from your Floor Warden or evacuate

3 minutes after hearing the Alarm Signal.

If the emergency takes place in your classroom or affects your classroom in part you are to:-


Evacuate the classroom using the safest route

Inform others in your block.


Ensure the Building Warden or Emergency Response Officer is informed.


Proceed to Assembly Area (See site plan).

Keep students together and follow instructions from Assembly Warden. 

CLEANERS EMERGENCY PROCEDURE

FIRE
 If you discover smoke/fire


Evacuate floor 


Isolate smoke or fire by closing door to the floor affected.


Raise alarm by using Break-Glass at Fire Alarm Panel

OR

by phoning 000

If safe to do so, attempt to extinguisher fire by using the 

correct fire equipment.  If not safe, move to front of Building and await the arrival of the Emergency Response Officer, giving information as requested.

Note: Persons using fire extinguishers should be trained in their usage.

If you hear the Fire Alarm Signal evacuate by moving to the front of the building and await the arrival of the Emergency Response Officer.

ASSEMBLY AREA WARDENS INSTRUCTIONS

On instruction from Building Warden you are to:-


Locate yourself at the chosen Assembly Area (see Site Plan)


Select a safe position (not a down wind position).


Keep classes that have reported to you together.


 When last person arrives at Assembly Area report information to Building Warden

             FIRST AID WARDEN INSTRUCTIONS

On hearing the Alarm signal you are to:-

Proceed to Facilities Management Office.


On Campus Emergency Coordinators instruction proceed to Assembly Area or where designated and set up First Aid Post.


Attend to casualties and notify Campus Emergency Coordinator if outside medical help is needed.


Await further instruction.

BUILDING WARDEN INSTRUCTIONS

Building 1 + 2

On hearing the Fire Alarm Signal or being informed of an emergency you are to proceed to the Alarm Panel

If Fire Alarm has sounded, or if informed by other means, check which floor is in alarm.

If alarm or emergency is in Building 1.

Contact Floor Wardens by PA System using colour code for emergencies chart, eg. “We have a Code Red on Level -----Floor Wardens, Deputy Floor Wardens please confirm, Staff and Students stand by”.

Have Floor Warden, Deputy Floor Warden relay information by WIP Phones, located in Hose Reel cupboards.

On confirmation or valid alarm or emergency have Floor Wardens, Deputy Floor Wardens evacuate that floor then floor above then floor below.  Continue until total building is evacuated.

After building evacuation is complete, Floor Wardens, Deputy Floor Wardens will report to you at Fire Alarm Panel.

Floor Wardens and Deputy Floor Wardens will then be used as;

1. Assembly Warden

2. To stop re-entry to building

3. To assist Emergency Response Officer with crowd control and putting up barriers.

Pass on all relevant information to Emergency Response Officer (Security Officer) (Use evacuation check lists).

BUILDING WARDEN INSTRUCTIONS

BUILDING 1 + 2

If alarm or emergency is in Building 2;

Contact Floor Wardens, Deputy Floor Wardens by phone and have them check out the floor involved.

On confirmation of valid alarm or emergency, have Floor Wardens and Deputy Floor Wardens evacuate that floor, then floor above and floor below. Continue until total building is evacuated.

After building evacuation is complete, Floor Wardens, Deputy Floor Wardens will report back to you at Fire Alarm Panel.

Floor Wardens and Deputy Floor Wardens will then be used as;

1. Assembly Warden

2. To stop re-entry to building

3. To assist Emergency Response Officer with crowd control and putting up barriers.

Pass on all relevant information to Emergency Response Officer (Security Officer).  (Use evacuation checklists).

If Alarm has sounded in Building 2, Floor Wardens, Deputy Floor Wardens will respond to a Mimic Alarm Panel on the ground floor, East side of building.

 Check to see which floor is in alarm and respond accordingly.

You may still have to make a phone call to Wardens to confirm response.

FLOOR WARDEN, DEPUTY FLOOR WARDEN INSTRUCTIONS

BUILDING 1 + 2

Building 1

On hearing the Fire Alarm Signal or being informed of an emergency you are to:

Go to your floor of responsibility.

Wait for instructions over PA System.

If evacuation required evacuate floor and close doors.

Have Staff and Students move to Assembly Area.

Report to Building Warden at Fire Alarm Panel.

Carry out duties as instructed by Building Warden.

FLOOR WARDEN, DEPUTY FLOOR WARDEN INSTRUCTIONS

BUILDING 1 

Performance Nights

Front of House Manager will act as Building Warden and follow Building Warden’s instructions for Building 1.

Stage Manager and Staff will act as Floor Warden, Deputy Floor Warden and follow Building Wardens instructions for Building 1.

Building Warden will ensure all checklists have been completed.

Building Warden will pass on all relevant information to Emergency Response Officer (Security Officer).

FLOOR WARDEN, DEPUTY FLOOR WARDEN INSTRUCTIONS

BUILDING 1 + 2

Building 2

On hearing the Fire Alarm Signal you will:

Proceed to the ground floor, Mimic Alarm Panel (East side of building).

Check to see which floor is in alarm.

Check out floor in alarm and if confirmed, evacuate floor then floor above and below, continue until total building is evacuated.

Report to Building Warden at main Fire Alarm Panel.

Carry out duties as instructed.

BUILDING WARDEN INSTRUCTION

BUILDING 8

On hearing the Fire Alarm Signal or being informed of an emergency you are to:

Proceed to the Fire Alarm Panel.

If Fire alarm has sounded, or if informed by other means, check to see which floor is in alarm.

Contact Floor Wardens, Deputy Floor Wardens, by PA System using colour code for emergencies chart, eg. “We have a Code Red on Level ----, Floor Wardens, Deputy Floor Wardens please confirm – Staff and Students stand by.”

On confirmation of valid alarm or an emergency, have Floor Wardens, Deputy Floor Wardens evacuate that floor then floor above then floor below.  Continue until total building is evacuated.

Floor Wardens and Deputy Floor Wardens must report back to you at the Fire Alarm Panel. 

Floor Wardens and Deputy Floor Wardens will be used as; 

1. Assembly Warden.

2. To stop re-entry to building.

3. To assist Emergency Response Officer with crowd control

and putting up barriers.

Pass on all relevant information to Emergency Response Officer

 (Security Officer)  (Use evacuation checklists).

FLOOR WARDEN AND DEPUTY FLOOR WARDENS

INSTRUCTIONS

BUILDING 8

On hearing the Alarm Signal you are to;


Go to your floor of responsibility.


Wait for instructions over PA System.


If evacuation required, evacuate floor. Close doors


Have staff and students move to Assembly Area.


Report to Building Warden at Fire Alarm Panel


Carry out other duties as instructed by Building Warden

CAMPUS EMERGENCY COORDINATOR

CHIEF WARDEN
ACTION SHEET 1                      

FIRE

When notified of a fire the Campus Emergency Coordinator shall:-


Make sure the Emergency Service been called.


Ensure Building Warden and Emergency Response Officer are aware of Emergency and if required
have First Aid Warden report to Assembly Area unless required near emergency.

Get Building Warden to have Floor Wardens and Deputy Floor Wardens;


Assess affected floors


If necessary evacuate floors.


Attempt to extinguish fire if safe to do so.


If unable to extinguish fire close all doors, leave floor.


Get Building Warden to ensure all checklists are complete.

Report to Emergency Response Officer and pass on all information.

Persons using Fire Extinguishers must be trained

CAMPUS EMERGERGENCY COORDINATOR

CHIEF WARDEN

ACTION SHEET 2

EARTHQUAKE

When tremor has subsided Campus Emergency Coordinator will;

Contact Emergency Response Officer to have:

Building Wardens have Floor Wardens, Deputy Floor Wardens check for casualties.

Check for internal damage.

Check passages and stairways to be used for evacuation.

Check for external damage.

When Assembly Area Warden has been nominated by Building Warden the Emergency Response Officer will have Assembly Area Warden check assembly area for safety.

Have First Aid Warden report to where needed.

Evacuation announcement to be given if necessary.

Campus Emergency Coordinator will call the appropriate emergency service.

CAMPUS EMERGENCY COORDINATOR

CHIEF WARDEN
ACTION SHEET 3

BOMB THREAT

When notified of a bomb threat the Campus Emergency Coordinator shall:-


Make sure the checklist has been completed.


The Police have been called.


Contact Emergency Response Officer (Security)

 who will;

Have Building Warden have Floor Wardens and Deputy Wardens;


Notify lecturers in their buildings and have them carry out

a search of their classes (leaving all doors open).


Check the outside of the buildings as well as pathways to Assembly Area before evacuation.


If evacuation necessary return to Building Warden and ensure evacuation is carried out.

CAMPUS EMERGENCY COORDINATOR

CHIEF WARDEN
ACTION SHEET 3

                                       BOMB THREAT
Have nominated Assembly Warden:

Check  Assembly Area


 Emergency Response Officer to report situation to Campus Emergency Coordinator.

Have First Aid Warden:-


Set up First Aid Post


Report any casualties

CAMPUS EMERGENCY COORDINATOR

CHIEF WARDEN
ACTION SHEET 3

BOMB THREAT

TYPE OF THREAT

Specific
Less common but more credible. The caller provides detail which may describe the device, its placement, the reason, its time of actuation, building name, address etc.

Non-specific
Little detail before the call is terminated.

Neither threat should be discounted and decisions should be made by the assessing team.

On receipt of a bomb threat call but prior to finding a suspicious object, the options are:

· Take no further action

· Search only

· Search and evacuate (either partial or full)

· Evacuate (without search)

 BOMB THREAT CHECK LIST

BOMB THREAT CHECK LIST

 QUESTIONS TO ASK

1. When is the Bomb going to explode?

2. Where did you put the bomb?

3. When did you put it there?

4. What does the Bomb look like?

5. What kind of Bomb is it?

6. What will make the Bomb explode?

7. Did you place the bomb?

8. Why did you place the Bomb?

9. What is your name?

10. Where are you?

11. What is your address?


EXACT WORDING OF THREAT

ACTION

Report call immediately to: 










Phone number: 












CALLER’S VOICE

Accent (specify): 






Any impediment:






Voice (loud, soft, etc)::





Diction (clear, muffled):





Manner (calm, emotional, etc):




Did you recognise the voice?




If so, who do you think it was?




Was the caller familiar with the Zone?





THREAT LANGUAGE


Well spoken:






Incoherent:





Irrational:






Taped:







Announcement read by caller:




Abusive:







Other:







BACKGROUND NOISES

	Street noises:



Aircraft:




Voices:




Music:




Machinery:



Other:
	House noises: 

Local call:



Long distance:



STD:







OTHER

Sex of caller:







Estimated:








CALL TAKEN

Date:………./……../……..
Time:

Duration of call:







Number called: 








RECIPIENT

Name (print):







Telephone number:






Signature:







REMEMBER KEEP CALM – DON’T HANG UP

BOMB THREAT

CAMPUS EMERGENCY COORDINATOR

CHIEF WARDEN
ACTION SHEET No 4

MEDICAL EMERGENCY
When notified of a Medical Emergency contact Medical Suite……………..and:-

DIAL “000” and advise ambulance of details of the injured person, give:


Address

Nearest cross street and State you are ringing from e.g. WA.


Building or area where person or persons are

Details of injury

Your name

Have Warden remain with the injured person until help arrives.


Dispatch a trained first aider to the scene, if available.


Based on their training, the first aider should render assistance


Meet ambulance officers and take to injured person

MEDICAL EMERGENCY

The possibility of a medical emergency has to be considered during the course of a normal working day.

Although not directly related to the operation of the building, Staff must be prepared to take appropriate steps to assist the ill or injured.

If any person is made aware of a medical emergency, they should follow the following procedures:

DIAL 000 and advise, if ambulance required, details of the injured person,

Give:



Address


Nearest cross street – State you are ringing from WA


Floor where person or persons are


Your name

Have someone remain with the injured person until help arrives.

Dispatch a trained first aider to the scene, if available.


Based on their training, the first aider should render assistance.


Inform Facilities Management Office. 

MEDICAL EMERGENCY


If the injury has resulted from a fall, DO NOT move the person/s and, where possible, do not leave them unattended.


The first aider will remain with the injured person/s until

 arrival of the ambulance.


Ensure responding emergency services personnel have a clear path of access to the injured person.


Meet ambulance and direct to building or area.

CAMPUS EMERGENCY COORDINATOR

CHIEF WARDEN
ACTION SHEET 5

ARMED INTRUSION/ HOLDUP
When you are notified of an armed intrusion/hold-up you shall;


Phone the Police and provide them with details of intrusion:-

Name

Address

Nearest cross street
 and from which State you are calling eg: WA.

After incident make sure the checklist has been completed and those involved are available for interview by police.

ARMED INTRUSION/

THREAT/HOLDUP
Procedures

Ensure cash and valuables are secured and kept to a minimum workable level.

Employees who may be subject to such an incident should be 

Given instruction to ensure their safety.
IF YOU ARE CONFRONTED BY AN ARMED INTRUDER

1. Obey the instructions

2. Try to remain calm

3. Do not take any action to excite the intruder.

4. Hand over cash/valuables on request.

5. Try to make a mental note of the description, clothing, speech, scars or other markings.

ARMED INTRUSION/THREAT/HOLDUP

STAFF INSTRUCTIONS
WHEN THE INTRUDER DEPARTS


Contact Campus Emergency Coordinator or Emergency Response Officer,

Provide details of robbery.

ARMED HOLD UP CHECK LIST

Witness Name
……………………………………………

Address

………………………………………………………………………………….

Phone/s

…………………………………………………………………………………..

Occupation

…………………………………………………………………………………..

	DESCRIPTION OF OFFENDER (S)

NUMBER OF OFFENDERS   1.
2.
3.
4.
5.

	SEX:
	Male

Female

Not Known

	RACE:
	Caucasian
Asian
   European (N or S)
  Aboriginal
Indian
  Negro

Islander
Maori

	AGE:
	5-10
10-15
16
17
18
19
20
2-25
25-30
30-35

35-40
40-45
45-50
55-60
  70-80  not known

	HEIGHT:
	4’/122
4’6”/137   5’/152    5’6”/168    5’8”/173    5’10”/178   6’/183     6’2”/188

6’4”/193  not known

	WEIGHT:
	8st/51kg  8’7/53kg  9/57kg  9’7/61kg  10/64kg  11/70kg   11’7/74kg  12/76kg

12’7/80kg    13/83kg   13’6/89kg    14/94kg   14’6/97kg

	BUILD:
	Thin
Slim
Medium     Heavy    Husky    Muscular    Fat    Stout

	HAIR:
	Black  Brown  Blonde

Dirty-Blonde Red      Grey    White    Silver

Dyed………..


Bald
Shaved Head
  Straight Curly    Wavy

Neat Wig    Afro

Tied
Tapered Crew     Neck     Shoulder

Long Spiked  Flat top              Dirty    Specific…………………….

	EYES:
	Black   Brown   Hazel              Blue    Green Grey     not known

	GLASSES:
	Sunglasses   Prescription   Wire Frame   Plastic Frame  Rimless  Clear  Bifocal 

	COMPLEXION:
	Pale   Fair   Medium   Swarthy   Ruddy   Tanned   Brown   Black   

Acne   Freckled   Scarred   Fresh

Not known   Specific…………………………………….

	FACIAL HAIR:
	Moustache   Beard   Sideburns   Unkempt   Goatee   Full   Stubble

Colour………………….     Specific…………………….

	SPEECH:
	Normal   Foreign   Impediment  Uneducated   Swearing   Husky   Deep

High   Squeaky   Quiet    Loud

	Hands:

Weapon

VEHICLE
	Handgun

Rifle

Shotgun

Knife

Body

Make

Model

Colour

Damage/

Fittings

Accessories

Interior

Stereo

Registration


	Gloves Cotton / leather /rubber /motorbike /garden /work /washing

Colour…………………..Type……………….Specific………………

Long/short barrel   Blue/Chrome    Revolver/Automatic

Specific……………………………………………………

Bolt/Auto/Pump/Lever Actions    Short/Long     Barrel   Full

Length   Sawn-off     Telescopic    Sight       Magazine

Specific……………………………………………………

Pump/Automatic/Double Barrel/Single Barrel/ or Under and Over   Full length

Sawn-off  Specific………………………………………..

Sheath   Carving   Kitchen    Butterfly Flick

Retractable Blade     Stanley Fishing Cleaver

Folding pocket type    Multi bladed    Serrated bladed  Y/N

Length of blade…………….Length of handle…………………

Colour of handle…………   Colour of blade………………….

Width of blade……………………………………………………

      Specific……………………………………………………..

Witness able to I.D. weapon   Y/N

Sedan S/Wagon     P/Van    Coupe Van    Ute….Commercial,  Sports

 4 x 4    motorcycle   moped

      Specific……………………………………………………..

Holden    Ford    Toyota    Mitsubishi     Daihatsu    Hyundai    Honda   Nissan   Rover    Fiat   

Australian    European   American   Japanese

Commodore    Falcon    Laser    Statesman    Kingswood

      Specific……………………………………………………

…………….Top    Vinyl/Colour……………

Metallic     Two Tone    Eclipse

Nearside      Farside    Front    Rear   Rust  

Specific……………………………………………………

Aerial (CB)    Towball  Bullbar   Roofrack   Alloy wheels

Spotlights   Sunroof  Car phone

Specific…………………………………………………….

Bucket/Bench seats   Seat Covers   Auto/Manual  

Column/Floor shift    Electric windows   Upholstery Colour…………

Specific…………………………………………………….

Standard       Fitted equaliser

Specific…………………………………………………….

Vic   NSW   SA   QLD   WA   TAS   NT   ACT

Colour  Black/White   Green/White  Specific………………………


Armed Hold Up Check List cont:
	PECULIARITIES:………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

 JEWELLERY:
Earrings
Studs
Bangles
   Rings
   Necklaces     Anklets


Description……………………………………………………….

TATTOOS:
L/R Hand………………….L/R   L/U Leg………………..Face…………………..


Fingers………………………


Torso………………………..L/R  L/U Arm…………………………………

CLOTHING:    
Head
Balaclava     Beanie    Stocking      Baseball cap       Akubra

                                           Straw        


Colour……………Design……………….Patches………..




Specific………………………………………………………


Upper
Pullover      Jacket   T-Shirt    Windcheater    Flannel Shirt    




Collar/Tie     Parka    Colour……………Design…………Stains……..




Labels…………………..Specific……………………………………


Lower
Jeans shorts   Slacks     Cords   Belt Y/N   Colour…………………..




Design…………………Labels……………….Stains………………….


Shoes
Runners     Bare feet    Thongs   Slippers    Boots    Desert boots




Colour…………………Laces……………………….




Labels…………………Specific……………………..


Dresses
Short/Long     Summer/Winter      Waist/knee/full  Colour……………..


Accessories:  ………………………………………………………


Make Up:
        ………………………………………………………

DISGUISES:
Balaclava  Beanie        Handkerchief     Stocking               Rubber Mask


(Face)  Sunglasses     Plastic Mask    Colour…………………..


Type………………….    Specific…………………………….


CAMPUS EMERGENCY COORDINATOR

CHIEF WARDEN
ACTION SHEET 6

CIVIL DISORDER AND

 ILLEGAL OCCUPANCY PROCEDURES
Immediately upon hearing of a civil disorder occurring in, or in the vicinity of any building, or that there has been unauthorised entry, the Campus Emergency Coordinator or any member of the Emergency Control Organisation should take the following actions:

1. Notify the Police and request assistance.

2. Alert other members of the Emergency Control Organisation (ECO).

3. Initiate action to:

· Restrict entrance to the building; and/or

· Restrict/confine presence to the ground floor; and

· Restrict contact between the demonstrators and the building occupants.

4. Notify nominated managers.

.

5. Managers can contribute in a practical way to the satisfactory resolution of these emergencies by ensuring withdrawal of their staff where necessary, supervising the locking of offices, securing records, files, cash and other valuable property and at the same time promoting an air of confidence and calm.

CAMPUS EMERGENCY COORDINATOR

CHIEF WARDEN

ACTION SHEET  7

CHEMICAL SPILL/TOXIC FUMES
When notified of a Chemical Spill you shall:-

Inform Emergency Response Officer

Call Emergency Services 000 and ask for HAZMAT.

Inform Building Wardens in non-affected areas.

Take action in accordance with MSDS sheets.

If chemical not known, cordon off the building affected.

Have all other buildings evacuated to upwind position.

Follow instructions of the Emergency Service.

STANDARD FIRE ORDER

Any person discovering or notified of a fire

should:-


Assist anyone in immediate danger (if safe to do so).


Close all doors to isolate smoke and fire.


Raise the alarm (use break-glass alarm if available)


Contact Building Warden to ensure the fire is reported to the Emergency Services and Campus Emergency Coordinator is notified as well as Emergency Response Officer.


Notify anyone else in the building.


On instruction evacuate to Assembly Area.


Remain at Assembly Area in class groups until all clear

is given.

STANDARD EARTHQUAKE ORDER

When tremor happens;


Do not run outdoors.


Shelter under (and hold) a door frame, table, bench, etc..


In crowded areas do not rush for the doors.  Move clear of overhead fittings and shelves.


After tremor stops wait for instruction from Floor Warden.


Do not evacuate until told by Building Wardens unless 

you are in any immediate danger.

If outside keep well clear of buildings overhead structures walls bridges powerlines, trees etc.

EVACUATION CHECK LIST

TIME:







DATE:




NATURE OF EMERGENCY

FIRE

EARTHQUAKE

BOMB THREAT

OTHER

EMERGENCY SERVICES NOTIFIED
YES

TIME:  




BUILDING EVACUATED




TIME: 




ZONE No.
1-6



  



HEAD COUNT



   YES            NO

VISITORS ACCOUNTED FOR       


PERSONS UNACCOUNTED FOR

Name:




    Last seen:






Name:




    Last seen: 







Campus Emergency Coordinator   Notified:                    YES

     NO

Emergeny Response Officers Notified
                         YES                   NO

OTHER COMMENTS:


















































CHECKLIST

	CAMPUS EMERGENCY COORDINATOR EVACUATION INFORMATION CHECKLIST

Building No.




	Floor
	All clear

(()
	Mobility impaired
	Refusal to evacuate
	Medical emergencies
	Comments

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


RECORD KEEPING

To comply with the requirements of AS3745, a form has been developed for recording training and instruction on Emergency Procedures.

A Log Book of the attendance is kept on the premises (preferably in a fireproof cupboard) for inspection by the authorities if requested.

BUILDING EMERGENCY PROCEDURES TRAINING

General Occupant Training was conducted at 



 on 



.


The following topics were covered:

· React safely in an emergency

· Help prevent emergencies

· Control small, uncomplicated emergencies, only 


if trained in first attack fire fighting skills.
	Name
	Building

No
	Floor
	Phone
	First Aid

Certified
	Signature



	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	



Training conducted by 








	BUILDING EVACUATION INCIDENT REPORT FORM

To be completed by the event of partial or complete evacuation of the building

	
                                                     Evacuation comments

	

	

	

	NO of building :






	Address of premises













	Date of evacuation:




    From each Floor






	Time of evacuation:












	Floor involved:












	

	Cause of evacuation, ie., fire, bomb , threat, 

	False alarm, malicious, drill?

	

	Did the Emergency Services attend?





	









	









	









	

	Did the following system operate


In the Assembly Floor/s

	Correctly: (tick ( or cross X)











	













	 (
Public Address System (audible)

	 (
If applicable to building 

	 (         Fire services automatically notified

Any casualties






	 (
A/C shut down











	

	

	


	

	





fully evacuated






	





Time







	













	

	Comments

	

	






	






	





Any other comments 





	







  





	







  





	







  





	







  






SUSPECTED HAZARDOUS MATERIAL

(ANTHRAX)

What is anthrax?

Anthrax is an acute infectious disease caused by the spore-forming bacterium Bacillus anthracis.  Anthrax most commonly occurs in wild and domestic lower vertebrates (cattle, sheep, goats, camels, antelopes, and other herbivores), but it can also occur in humans when they are exposed to infected animals or tissue from infected animals.

How is anthrax transmitted?

Anthrax infection can occur in three forms: cutaneous (skin) inhalation, and gastrointestinal. B. anthracis spores can live in the soil for many years, and humans can become infected with anthrax by handling products from infected animals or by inhaling anthrax spores from contaminated animal products. Eating undercooked meat from infected animals can also spread anthrax.  It is rare to find infected animals in the United States.

What are the symptoms of anthrax?

Symptoms of disease vary depending on how the disease was contracted, and symptoms usually occur within 7 days.

Cutaneous: 
Most  (about 95%) anthrax infections occur when the bacterium enters a cut or abrasion on the skin, such as when handling contaminated wool, hides, leather or hair products (especially goat hair) of infected animals.  Skin infection begins as a raised itchy bump that resembles an insect bite but within 1-2 days develops into a vesicle and then a painless ulcer, usually 1-3 cm in diameter, with a characteristic black necrotic (dying) floor in the centre.  Lymph glands in the adjacent floor may swell.  About 20% of untreated cases of cutaneous anthrax will result in death.  Deaths are rare with appropriate antimicrobial therapy.
Inhalation:
Initial symptoms may resemble a common cold.  After several days, the symptoms may progress to severe breathing problems and shock.  Inhalation anthrax is usually fatal.
Intestinal:
The intestinal disease from anthrax may follow the consumption of contaminated meat and is characterised by an acute inflammation of the intestinal tract.  Initial signs of nausea, loss of appetite, vomiting, fever are followed by abdominal pain, vomiting of blood, and severe diarrhoea.  Intestinal anthrax results in death in 25% to 60% of cases.

Is there a treatment for anthrax?

Doctors can prescribe effective antibiotics.  To be effective, treatment should be initiated early.  If left untreated, the disease can be fatal.

WHAT TO DO IF YOU RECEIVE A SUSPICIOUS PACKAGE OR MAIL ITEM

If you suspect that you have received a package that may contain hazardous material and HAVE NOT OPENED IT.

· Place item in a plastic bag and seal it.

· Place all items in a second plastic bag and seal that bag.

· Stay in your office or immediate work floor.  This also applies to co-workers in the same room.  Prevent others from entering the floor and becoming contaminated.  Remember you are not in immediate danger.

· Call for help.  This may be your supervisor or to 000 to ask for Fire HAZMAT depending on your situation.  

Advise:

· 
Exact location of incident-street address, building floor 

· 
Number of people potentially exposed

· 
Description of the package/device

· 
Action taken e.g. package covered with black coat, floor isolated.

· Keep your hands away from your face to avoid contaminating y our eyes, nose and mouth.

· If possible (without leaving your work floor) wash your hands.

· Wait for help to arrive

IF YOU SUSPECT THAT YOU HAVE RECEIVED A PACKAGE THAT MAY CONTAIN HAZARDOUS MATERIAL AND HAVE OPENED IT.

· Do not disturb the item any further.  Do not pass it around.  If any material has spilt from the item, do not try to clean it up, or brush it from your clothing.
· If possible place an object over the package without disturbing it such as a large waste bin.
· Stay in your office or immediate work floor.  This also applies to co-workers in the same room.  Prevent others from entering the floor and becoming contaminated. Remember you are not in immediate danger.
· Call for help.  This may be your supervisor or to 000 to ask for Fire HAZMAT depending on your situation. 
Advise:

· 
Exact location of incident – street address, building floor
· 
Number of people potentially exposed
· 
Description of the package/device
· 
Action taken eg. Package covered with black coat, floor isolated.
· 
Keep your hands away from your face to avoid contaminating your eyes, nose and mouth.
· 
If possible (without leaving your work floor) wash your hands.
· 
If possible, have the building ventilation system shut down and turn off any fans or equipment that is circulating air around your workplace.
· 
Wait for help to arrive.
�





 





CO2 Extinguisher





�





DBA No 32/007





�





�





Hose Reel /WIP


(Phone)





Alarm Panel





PA Microphone





EWIS Panel





WIP Phone





�





First Aid Officer





PA Speaker





EWIS Panel





�





�





�





�








�





�





Hose Reel


Class A





�





�





Emergency Response Officer


(ERO)





Communications Officer


(CO)





Deputy Chief Warden





Campus Emergency Coordinator (CEC)


(Chief Warden)





Control center consists of CEC,CO,ERO (see definitions) Control Centre will be FMO unless otherwise directed.





The Campus Facilities


Manager fills Chief Warden/CEC position





Control Centre


(Facilities Management Office (FMO)








�





�





�





Emergency Lighting





Heat Detector





Heat Detector





BUILDING 8





Break-Glass Alarm











ECU Mt Lawley Emergency Organisational Structure





�





�





�





�





�





�





�





�





�





�





Alarm Panel





Break-glass Alarm





Alarm Panel





Alarm Panel





EWIS Instruction





EWIS Control





Security  Phone





Smoke Alarm





PA Speaker





Exterior Building 8





Building 3


and all other building with alarms, no EWIS











Alarm Bell





Alarm Panel





�





�





�





�





�





�





�





�





�





Heat Detector





Exit Sign





PA Microphone





Loud Hailer at FMO





Portable PA/Evac Tone System at FMO





Break-Glass Alarm





Alarm Panel





Mimic Panel at Control Centre FMO





Alarm Bell











Building Warden





Assembly Area Warden





Emergency Services





Deputy Chief Warden


position is filled by Team Leader





Facilities Management Officer fills Communications Officer position





Security Officers fills ERO





Building Wardens are appointed for each building. Floor Wardens and Deputy Floor Wardens are appointed for each floor within a building





First Aid Officers are located throughout the campus. Building Wardens should maintain a list of trained officers who should be alerted to set up a First Aid Post when instructed by CEC. 





The Building Warden of the building in alarm will nominate Assembly Area Warden. This position is not really about doing a headcount but to ensure that Staff and Students do not get in the way and that they stay in an upwind position.





Floor


Wardens and


Deputy Floor


Wardens





First Aid Post


This will be set up at the Assembly Floor or at a location decided by the CEC.





Wardens





Assembly Area


This will be as identified on the Site Plan or as specified by the CEC.











Page  18

